## Sheet1
INVESTOR: CITY OF SOMBOR
Works for Reconstruction of the building of the Kayak Centre
BILL OF QUANTITIES
Description
4.3.2 Bill of Quantities
| I PRELIMINARY WORKS | UNIT | ESTIMATED | UNIT PRICE | AMOUNT
|  |  | QUANTITIES | RSD | RSD
1 | Careful dismantling of lightning rods installations with packaging, sewing and storage at the landfill up to 15 km, according to the choice of the investor. Calculation by m1 of the installations. Careful dismantling of lightning rods installations with packaging, sewing and storage at the landfill up to 15 km, according to the choice of the investor. Calculation by m1 of the installations. | m1 | 50 |  | 0
2 | Removal of horizontal hanging gutters. Gutters dismantled, packed, loaded in truck and take it to the landfill it designates investor up to 15 km away. Calculation by m1 gutter. | m1 | 21 |  | 0
3 | Dismantling of gutter tubes. To remove the storms, pack, load in the truck and take it to landfill designated by the investor in remote of 15 km. Calculation by m1 gutter. | m1 | 13 |  | 0
4 | Remove the roof cover from the salonit plate. Remove saloon panels to a safe place of the way. Pick up all removed materials, put on, load on the truck and take it to the city dump. Calculation per m2 of surface area. | m2 | 280 |  | 0
5 | Careful disassembly of the window, surfaces up to 2.00 m2. Remove the demountable windows, load on the truck and take it to the landfill determined by the investor. Calculation per piece of the window. | pcs | 9 |  | 0
6 | Dismantling of entry metal sliding doors dim.180 / 210 cm. Price includes and depositing in the place it designates investor. | pc | 1 |  | 0
7 | Removing attic stairs from the wood. Carefully dismantle wooden steps. Steps are roughly cleaned and arranged in a warehouse, for reuse, or loading on truck and take it to the landfill it designates investor up to 15 km away. Pick up all removed materials, take out, load on the truck and take it to city landfill. Calculation by m1 per stairs. | m1 | 15 |  | 0
8 | Removing the roof cover. Get out of the roof ruined mortar, and the roof cover carefully dismantle, take out, load, Take it to the truck and take it to the city dump. Calculation per m2 of roof. | m2 | 15 |  | 0
9 | Replacement of worn and damaged elements roof constructions. Do it carefully-disassemble the decked roof elements. From the dry coniferous material, modeled on dismantled items to process new and install them with all the necessary connections (U). The price includes both support and security. Calculation per m3 of built-in material. | m3 | 0.5 |  | 0
10 | Twisting of lime plaster from the inside walls. Clean the mortar and clamps joints up to a depth of 2 cm. Brick surfaces clean with steel brushes and wash walls with water. Pick up the waste, put on, load on truck and take it to the city dump. Calculation per square meter of area. | m2 | 195 |  | 0
11 | Breaking the constructional brick wall for making window opening. Carefully demolish the parts of the wall so that the wall is not torn. Collect all removed materials, take out, load on the truck and take it to the city dump. The price goes in support. Calculation per m3 of the wall. | m3 | 2.1 |  | 0
12 | Breaking the base wall of the brick, for passage of sewer pipes. Carefully break through holes for the passage of sewage pipes. Collect, take out, load on the truck and take it to the city dump. Calculation by a piece of whole. | pc | 1 |  | 0
13 | Combustion of existing finishing of molded interior walls. After finishing the walls, rinse and slash the substrate. Placing PVC mesh in the lepak. These works are carried out at places where wall ceramics are to be installed. Calculation per m2. | m2 | 60 |  | 0
14 | Supply and installation of steel tubes 40x40x3. Install the posts into excavated bricks and embed them. Apply a plastic wired fence with a 70x70mm aperture. Height of the fence d = 200cm. Close the enclosure completely. On the forehead side, the single-faced stone gate is made of steel boxes 30x30x3, 120cm wide, with filling of the same woven knit. Take substructure completely Calculate per m2 of fencing. | m2 | 60 |  | 0
| PRELIMINARY WORKS |  |  | TOTAL | 0
| II GROUND WORKS | UNIT | ESTIMATED | UNIT PRICE | AMOUNT
QUANTITIES
1 | Manual excavation of trenches, in category III earth, for plumbing network. Run out according to the project and given angles. Sideways cut the sides properly, and the bottom level. According to the price of the entry and decommissioning and security of the trench. Discard the excavated land from the trench. After the finished works the land dip and pile in layers. Excess of the earth translate carts, dive and level ground or load on the truck and take it to the city landfill. Calculation per m3 of land, measured in increment. | m3 | 15 |  | 0
2 | Manual trench excavation in the ground, III category, for installation of sewerage network, depth to 2,0 m. Perform excavation according to the project and given angles. The sides are properly cut off and the bottom level. The price of the excavation enters the disconnection and security of the trench. The excavated land throw it away from the trenches. After finishing work The earth is dipped and charged in layers. Excess earth to carry carts, dive and level Field or load on the truck and take it to city landfill. Calculation per m3 of land, measured in increment. | m3 | 8 |  | 0
3 | Manual land excavation, III category, for plumbing shaft, external measures 1,0mx1,0m, depth 1,2m. Run out to project. Sideways properly cut off, a bottom level. Excavated land to move by wheelbarrow, dive and level the terrain or load. Take it to the truck and take it to the city dump. Calculation per m3 of soil, measured in increment. | m3 | 1.56 |  | 0
4 | Manual land excavation, III category, for sewage shaft, the dimensions of the revision of the sack are 1.05x1.05, depth 1.2m. Run out to project. Sideways properly cut off, a bottom level. Excavated land to move by wheelbarrow, dive and level the terrain or load. Take it to the truck and take it to the city dump. Calculation per m3 of soil, measured in increment. | pcs | 3.44 |  | 0
5 | Procurement and sanding of the sand, in the tunnel for sewage network. Under and over laid pipes sagged sand. Special Pay attention to sanding the sand around the pipe. The sand is poured and carefully packed in layers, wooden ramps. Calculation per m3 loaded sand. | m3 | 4 |  | 0
6 | Earth infiltration. Pour the earth into the excavated renches in layers of 20 cm yeast and water up to the necessary compaction. For filling use the earth, deposited upon excavation. Calculation by m3 of soil, measured in increments. | m3 | 16 |  | 0
7 | Mechanical excavation of soil, III category for septic tank. The tank has an outside diameter of 3.0m and a depth of 2.5m. Run the excavation according to the project and given angles. Side sides correctly cut off, and the bottom level. The excavated land translate, dive and level the terrain or load Take it to the truck and take it to the city dump. Calculation per m3 of land has been measured. | m3 | 23.4 |  | 0
8 | Arrangement and planing of the floor of the canopy, digging ground. Calculation per m3 of collected land. | m3 | 23.4 |  | 0
9 | Brick wall machine d = 30cm, for the waterproofing of condenser V4. The price comes with the work and all the necessary material. Calculation per m1. | m1 | 52 |  | 0
| GROUND WORKS |  |  | TOTAL | 0
| III CONCRETE AND ARMED CONCRETE WORKS | UNIT | ESTIMATED QUANTITIES | UNIT PRICE | AMOUNT
1 | Construction of a concrete floor in the interior of the building, 8cm thick, brand MB 20, reinforced with mesh reinforcement Q-88, over existing brick flooring. Before concreting, over the existing brick floor, place the PVC foil. The armor enters the floor price. The top surface of concrete is to be sold. Calculation per m2 floor. | m2 | 100 |  | 0
2 | Making a concrete floor, 10cm thick, brand MB 20, reinforced with mesh reinforcement Q-131, under the canopy. Pre-concretize the substrate and thicken the damp layer of pebble d = 5cm. The armor enters the floor price. The top surface of concrete is to be sold. Calculation per m2 floor. | m2 | 82 |  | 0
3 | Construction of reinforced concrete slab walls MB25, d = 15cm, reinforced with mesh reinforcement Q-131. Install the concrete with the addition of waterproofing additives. The price includes armature Calculation per m3. | m3 | 1.06 |  | 0
4 | Production of reinforced concrete top panels of septic tanks MB25, d = 15cm, reinforced with mesh reinforcement Q-131. Leave the hole in the board and install the septic tank lid. Concrete to be regulated by regulations. Inside, there are plating, armor. Calculation per m3. | m3 | 1.06 |  | 0
5 | Creation of reinforced concrete base plate d = 10 cm, revision of sewage shaft, mark MB 25, reinforced with mesh reinforcement Q-131. Concrete work over a previously abundant gravel layer thickness of 5cm. Inside the entrance, armor and gravel buffer. Calculation per m3 base. | m3 | 0.22 |  | 0
7 | The construction of reinforced concrete top panels of the revolving saxophone shaft and waterproof shackle, thickness d = 10 cm, mark MB 25, reinforced with mesh reinforcement Q-131. Install the crushed iron shaft cover F600 on the board. Inside, there are plating, armor. Calculation per m3 base. | pc | 3 |  | 0
8 | Production of reinforced concrete overpasses, brand MB 30, width of existing wall. Prepare them from a hedge trimmer with an additional arm of 2F10. Concrete to be built and to be laid under the regulations. Inside, there are planners, supporters, armor and auxiliary scaffolding. Calculation per m3 overpass. | m3 | 0.6 |  | 0
| CONCRETE AND ARMED CONCRETE WORKS |  |  | TOTAL | 0
IV MASONRY WORKS
1 | Bricklaying walls with a thickness of 12 cm full brick in an extended mortar the scale 1: 2: 6, with the production of a screwdriver. At the height of the door beams, or at a height of 200 cm do reinforced concrete screws dimension 7x15 cm. The concrete mark is MB 20, and armature (serklaža) 2Ø8, stirrup Ø 6/25. A link to work on half a brick, and a link with other walls in the proper way. As per clean the coupling masonry. In the price The wall includes the production of reinforcement, reinforcement, formwork and auxiliary scaffolding. Calculation per m2 of wall, openings are reflected. h = 300 cm | m2 | 35.65 |  | 0
2 | Construction of walls of septic tanks with brick d = 25cm, in extruded mortar, 1: 2: 6. Calculation per m3. | m3 | 4.75 |  | 0
3 | Walling of the walls of the revision of the sewer's shaft and the water-like shackle, brick d = 12cm, in the extension mortar, 1: 2: 6. Calculation per m2. | m2 | 11.28 |  | 0
4 | Plastering the walls of the septic tank cement mortar, with addition of additives forwatertightness. Surface walls well cleaned and dusted. Before plastering, walls must be sprayed with cement milk. Malterize in two layers, with additive additive. The first layer is to work with the average gravel "unit" and the other with fine sand go to black glare. Calculation per m2 plastered surfaces. | m2 | 35 |  | 0
|  |  |  | 5.800,00 | #VALUE!
3 | Plastering the interior and exterior walls of brick with two-layer mortar. Before plastering the wall surface, clean it sprinkle with milk. First layer, grunt, work a prolonged mortar of gravel, "units". Submerge the substrate, apply first layer of mortar and cut it. Get the second layer with fine fine sand, without any sludge and organic matter and apply over the first layer. Perish with wetting and ironing small tools. Maltered surfaces must be straight, without fractures and waves, and edges sharp and make. The mortar is yeast to not get fast drying and "burning". The price goes in auxiliary scaffolding. Calculation per m2 plastered surface. | m2 | 280 |  | 0
| MASONRY WORKS |  |  | TOTAL | 0
V SHEET METAL WORKS
1 | Production and installation of hanging semicircular gutters of galvanized sheet metal, developed width (RŠ) 33 cm, width of the gutter 10 cm and thickness 0,60 mm. Connect the gutters with the thread, with one with a maximum space of 3 cm and let out kneel at least 40%. The gutter is made of galvanized flah 25x5 mm and thread on the front of the gutter thread Ø 4 mm, at a distance of up to 80 cm. Calculation per m1 of the hanging gutter. | m1 | 21 |  | 0
2 | Design and installation of galvanized steel pipes, developed widths (RŠ) up to 33 cm, Ø 10 cm, sheet thickness 0.60 mm. Parts of gutters must enter one to another minimum of 50 mm and hit the tiniest of the smallest 40%. Galvanized clamps with holders set at a distance of 200 cm. Across clamp set a decorative tape. Pipes must be 20 meters from the wall mm. Completion of the tube through the details. Calculation by m1 of the hollow pipe. | m1 | 19 |  | 0
3 | Flooring, veterinary, galvanized sheet metal, developed width (RH) 25 cm, thickness 0.60 mm. Exfoliate to perform according to the project, details and instructions designer. Calculation by m1 of the roof edge. | m1 | 27 |  | 0
4 | Window banks are galvanized sheet d = 0.55 mm, d. width 0-25 cm, below 0-15 cm, over a brick surface. | m1 | 15 |  | 0
| SHEET METAL WORKS |  |  | TOTAL | 0
VI CARPENTRY WORKS
1 | Design and installation of frosted PVC windows, dimensions 60x60 cm. The windows are made of high-strength hard PVC with a five-chamber profile system, with reinforced steel stainless steel profiles, according to the cabinet pattern and details. Windows with durable elastic EPDM rubber, vulcanized at the corners. Swivel tile, fine-colored profiles. Window wings flare thermo flot glass d = 4 + 16 + 4 mm and handle EPDM rubber. Calculation per piece of window. | pcs | 4 |  | 0
2 | Design and installation of glazed PVC windows, dimensions 90x50cm. The windows are made of high-strength hard PVC with a five-chamber profile system, with reinforced steel stainless steel profiles, according to the cabinet pattern and details. Windows with durable elastic EPDM rubber, vulcanized at the corners. Swivel tile, fine-colored profiles. Window wings flare thermo flot glass d = 4 + 16 + 4 mm and handle EPDM rubber. Calculation per piece of window. | pcs | 7 |  | 0
3 | Design and installation of glazed PVC double glazed windows, dimensions 200x100 cm. The windows are made of high-strength hard PVC with a five-chamber profile system, with reinforced steel stainless steel profiles, according to the cabinet pattern and details. Windows with durable elastic EPDM rubber, vulcanized at the corners. Swivel tile, fine-colored profiles. Window wings flare thermo flot glass d = 4 + 16 + 4 mm and handle EPDM rubber. Calculation per piece of window. | pcs | 3 |  | 0
4 | Design and installation of single single-leaf PVC doors of 70x205 cm. Doors made of high-strength hard PVC with a five-chamber system of fine-grained profile and reinforced with stainless steel profiles, filling and sealing system of EPDM rubber, according to the cabinet pattern and details. Calculation per piece of door. | pcs | 4 |  | 0
5 | Design and installation of single-leaf interior kraft master doors, measuring 70x205 cm. The door was covered with a finishing white lacquer. Calculation per piece of door. | pcs | 4 |  | 0
6 | Design and installation of single-sided PVC glazed doors, dimensions 80x205 cm. Doors made of high-strength hard PVC with a five-chamber system of fine-grained profile and reinforced with stainless steel profiles, filling and sealing system of EPDM rubber, according to the cabinet pattern and details. The door is tilted with a 5 mm thick transparent glass and gently rubberized. | pcs | 4 |  | 0
7 | Production and installation of double glazed PVC glazed doors, dimensions 140x210 cm. Doors made of high-strength hard PVC with a five-chamber system of fine-grained profile and reinforced with stainless steel profiles, filling and sealing system of EPDM rubber, according to the cabinet pattern and details. The door is tilted with a 5 mm thick transparent glass and gently rubberized. Calculation per piece of door. | pc | 2 |  | 0
8 | Design and installation of entrance double glazed PVC glazed doors, dimensions 140x210 cm. The door is made of high-grade hard PVC with a five-chamber system of fine-grained profile and reinforced with steel stainless steel profiles, filling and sealing system with EPDM rubber. Door locks the thermoflot glass d = 4 + 16 + 4 and touch the durable elastic EPDM rubber. Calculation per piece of door. | pc | 1 |  | 0
| CARPENTRY WORKS |  |  | TOTAL | 0
VII CROSS-CRAFT WORKS and CARPENTRY
1 | Roof decking 24/48 mm, at 40 cm apart for single cover with pepper tiles. Let's execute it dry, real and quality meals laths, optimum lengths. Calculation per m2 measured along the slope of the roof. | m2 | 280 |  | 0
2 | Procurement and placement of dispensable substrates and PVC foil over the roof structure. Boards 24 mm thick, dry and straight quality planks, optimal length put on a touch and yell. Calculation by m2 of surface area. | m2 | 280 |  | 0
3 | Supply and installation of roof TR plate 37/200 with filco, color ral 3009. Calculation per m2 of surface area. | m2 | 280 |  | 0
4 | Supply and installation of roof sleeves made of laminated plastic sheets in the color of the roof covering. Calculation per m1 of shed. | m1 | 21 |  | 0
| CROSS-CRAFT WORKS and CARPENTRY |  |  | TOTAL | 0
VIII SUPPORTING WORKS
1 | Creation of cement liners, thickness 4cm, reinforced with polypropylene fibers. Before cleaning the liner have to be washed. Get the mortar for the jacket by the average gravel "unit", the situation 1: 3. Armored is rabic knitwear, placed in the middle of the layer. Shirt nourish it until it solidifies. Calculation per m2 screws. | m2 | 182 |  | 0
2 | Supply and installation of floor coverings laminate, click, 8 mm thick, for medium load (class 31), optional designer. Laminate floor coverings is set up as a swimming floor. Laminate it must be strong, durable and highly experienced, and high density plywood, HDF, edges impregnated with nut and feder. Floor Cover, unpack, and leave for 24 hours to acclimatize in the atmosphere of the room. Place the felt film on the prepared substrate foil. Alongside the walls leave dilatations couplers with a width of 10 mm. The closing system is dry. Carefully place the floor cover and compose to "click". Next to the walls moldings and on each 80 cm batten fasten for the wall. Confrontation ger. Calculation per m2 of the floor. | m2 | 8 |  | 0
3 | Purchase and installation of sports vinyl floor type "Omnisports speed" product Tarket or equivalent d = 3.45 mm with gluing and by placing the eagle. | m2 | 46 |  | 0
| SUPPORTING WORKS |  |  | TOTAL | 0
IX CERAMIC WORKS
1 | Get a quotation by placing wall ceramic tiles in the size 20x40 cm. Tiles of class I, homemade production, resting on the fly in the slit of the joints on the funnel, the height of the covering H = 2.20m. If necessary, trim the tiles manually. Surfaces must be flat and vertical. Tile buy is also included in the price. Calculation per m2 of tiles. | m2 | 140 |  | 0
2 | Installation of floor tiles, dimension 30x30 cm. Tile I adhesive classes tile adhesive, in the style of your choice designer. Prepare the substrate and prepare it laying straight. Placed tiles Fugue and under clean the sawdust. In the price the purchase of tiles is also included. Calculation per m2 of the floor. | m2 | 48 |  | 0
3 | Placing of clogs from floor tiles. Tile up to 10 cm high. Tiles adhere tile adhesive. The substrate must be straight and prepared. Placed tiles fit and clean the socket. The price includes purchase tile. Calculation by m1. | m1 | 30 |  | 0
| CERAMIC WORKS |  |  | TOTAL | 0
X PAINTING WORKS
1 | Painting interior walls and ceilings half-dispersion 2x with the previous one bypassing all surfaces. | m2 | 350 |  | 0
2 | Protective coating of wooden bulkheads roof and stone wall coating 2x. | m2 | 47 |  | 0
| PAINTING WORKS |  |  | TOTAL | 0
XI (ALABASTER) WORK
1 | Making a suspended ceiling with steel sub-construction at the same level and coating plasterboard with cardboard plates GKB 12,5 mm, Knauf D113 system or equivalent. Grid structure set at the same level as the bearers and prefabricated galvanized profiles CD 60x27 mm fastened with hangers for a load-bearing ceiling and cover plaster with cardboard plates, by project and instructions from the manufacturer. Compositions treat shaving mass and bandage strips by instructions from the designer. The price includes labor scaffolding, PVC film imineral wool d = 10 cm. Calculation per m2 of surface area. | m2 | 104 |  | 0
2 | Construction of partition walls of moisture-proof gypsum board board 12.5mm. Make the substructure from 75mm cracked profiles. Make the dressings with bobbins and bandage bandages. Place a mineral wool d = 5cm between the plasterboard. Calculation per m2 of surface area. | m2 | 80 |  | 0
| (ALABASTER) WORK |  |  | TOTAL | 0
XII ELECTRICAL INSTALLATION WORKS
1 | Dismantling the existing electrical installation | pc | 1 |  | 0
2 | Delivery of assembly and connection of PVC distribution boards for upgrading 12 automatic switches together with the following elements: - Automatic switch MC 32 3000 / 10A, 1P, "C" "Minel" or similar - 3.00 pcs - Automatic switch MC 32 3000 / 16A, 1P, "C" "Minel" or similar - 3.00 pcs - current differential protection switch FID 25 / 0.5 A - 1.00 pc - small unspecified material of the pause set position 2. | set | 1 |  | 0
3 | Delivery installation and connection in PVC electrical conductor boxes - 4 pieces - PVC fi 78 with cover pieces 4.00 - PVC 95 x 95 mm with lid - 2 pices | set | 1 |  | 0
4 | Delivery installation and connection of the following Installation Elements: - PVC boxes fi 60 pcs 12.00 pieces - ordinary switch for installation piece 13.00 pieces - ON-OFF switch with indicator, 16A pcs 2.00 pieces - Serial switch for installation unit 2,00 pieces - Monofase connector for installation "šuko" pcs 17,00 pieces - Monofase connector or equivalent for installation "šuko" with a lid - 2 pieces | set | 1 |  | 0
5 | Delivery of assembly and connection of the following lighting fixtures: - Incandescent lamp "ZA 15" with opal ball pcs 3,00 pcs - fluorescent lamp with a glossy raster, overhead, with starter, 2 x 36 W pipes - 27 pieces | set | 1 |  | 0
6 | Delivery and laying of the following conductors in thewall, in the layer of plaster and above the lowered ceiling: PP 2 X 1,5 mm2 m1 - 50,00 m1 PP 2 X 2,5 mm2 m1 - 15,00 m1 PP-Y 3 X 1,5 mm2 m1 - 350,00 m1 PP-Y 3 X 2.5 mm2 - 50,00 m1 | set | 1 |  | 0
7 | Making an earth-based installation of the following works and materials: - Excavation and trenching in the ground smoke 40 x 60 cm - 2,00 m1 - Elongation of the Fe / Zn earthing probes 2.5 m x 2 - 1,00 pc - Ribbon Fe / Zn 25x4 mm2 - 3,00 m1 - Conductor PY 1x6 mm2 - 10,00 m1 - Ribbed PVC pipe fi 13,5 mm - 10,00 m1 - PVC box with lid 95x95 mm - 1,00 pc - Small unspecified material - 1 ,00 pc Set Position 7 | set | 1 |  | 0
8 | Making a phone connection with the following works and material - Telephone connection 1 + 1 - 1,00 unit - Distribution box with cover fi 78 - 3,00 pcs Set Position 8 | set | 1 |  | 0
9 | Measurement and testing of installation and issue certificate | piece | 1 |  | 0
| ELECTRICAL INSTALLATION WORKS |  |  | TOTAL | 0
XIII WATER SUPPLY AND SEWERAGE
1 | Supply and installation of PPR cevi-fluidterm, DN20 working pressure 10 bar. The tubes are placed in the wall brackets and are visually attached to the clamps at every 1.00 m. The calculation is done per meter, so that all the fittings, the thermal insulation, the joining of the walls and the splicing of the clamps . | m1 | 30 |  | 0
2 | Purchase and installation of the permeable valve, diameter 1/2 "with chrome-plated handle rosette. When installing the valve, keep it check that the rosette valves are completely flat with the final surface of the wall. The valve must to have an attestation. Calculation per piece of valve. | pcs | 10 |  | 0
3 | Procurement and installation of corner passage valves, for urinal toilets, diameter 1/2 ", with handle. When installing the valve make sure that the valve wheel is at the correct distance from the final surface of the wall to be enabled access to the valve and connection urinal and rosette setting. The valve must have an attestation. Calculation per piece of valve. | pcs | 2 |  | 0
4 | Procurement and installation of PVC sewerage tubes of hard polyvinyl chloride, diameter 50 mm together with fasonic pieces and with a mating material. Set only the correct pipes and fasonic pieces that they have ateste. Audible pieces are properly sealed with covers and rubber dies. Insert the installed sewer network on pressure and make a record, which is included in the price. Pipes fix and execute holes in the holes and slices. Calculation by m1 pipes. - diameter 50 mm - 20,00 m1 -diameter 110 mm - 5,00 m1 -diameter 160 mm - 2,00 m1 | set | 1 |  | 0
| WATER SUPPLY AND SEWERAGE |  |  | TOTAL | 0
XIV SANITARY DEVICES
1 | Supply and installation of a set of washbasins, from ceramics, dimensions 600x500 mm, domestic production of I class. Wash basin for the wall attach with appropriate anchors and brass screws and over the pads of rubber. Connect the washbasin to the drain chrome-plated siphon 5/4 "diameter with rosette, plug and chain. Install the tap for hot and cold water. Next to the wash basin set floor, mirror, soap holder and towel. Wash basin and equipment according to your choice designer. Calculation per piece wash basin, complete. | pcs | 2 |  | 0
2 | Supply and installation of a cup of domestic A ceramic cups, fixed to the bolts and tipheads. The double board is medium-sized and is mounted on a mound. Molding of the mold is performed through a high-mounted cistern. The price includes the purchase and installation of toilet paper holders. The calculation is done per piece of built-in toilet bowl kit. Calculation per piece of mold, kit. | pcs | 2 |  | 0
3 | Supply and installation of ceramic mural urinal, "Keramika" Mladenovac. Attach the urinal through the rubber pads to the appropriate pins and brass rods. Install a chromed spring tap. Calculation per piece urinal toilet. | pcs | 2 |  | 0
4 | Supply and installation of bath tubs, dimensions 90 x 90 cm semicircular, Kolpa san. Shower bath set and connect to drain siphon 5/4 "diameter with plug and chain. Colour of the shower tubsis according to the designer's choice. Calculation by a piece of shower bathtub. | pcs | 4 |  | 0
5 | Purchase and installation of single wall lining chrome-plated battery for shower, for warm and cold water. Between the wall and the battery set rosettes. Fixed on the wall is shower holder. Carefully set the battery so that chrome does not damage. Calculation per piece of batteries. | pcs | 4 |  | 0
6 | Purchase and installation of chrome fixed towel holder, according to the designer's choice. Calculation per piece of towel holder. | pcs | 4 |  | 0
7 | Procurement and placement of chromium soap boxes, according to the designer's choice. Calculation per piece of soap box. | pcs | 4 |  | 0
8 | Procurement and installation of electric boilers, a volume of 120 liters, according to the designer's choice. Along with the boiler deliver and install security valve and chromium connecting tubes. Install the boiler and connect it to the electrical energy. Calculation per piece of boiler. | pc | 1 |  | 0
| SANITARY DEVICES |  |  | TOTAL | 0
XV FERRY
1 | Supply and installation of high-density polyethylene cogwheels (HDPE). Dimensions of the cube are 50x50x40cm, easy to mount and demonize. In all things, according to the existing cube on the object in question. | m2 | 14 |  | 0
| FERRY |  |  | TOTAL | 0
TOTAL
| I PRELIMINARY WORKS | TOTAL
| II GROUND WORKS | TOTAL
| III CONCRETE AND ARMORED CONCRETE WORKS | TOTAL
| IV MASONRY WORKS | TOTAL
| V SHEET METAL WORK | TOTAL
| VI CARPENTRY WORKS | TOTAL
| VII CROSS-CRAFT WORK and LANDSCAPING WORKS | TOTAL
| VIII SUPPLIER WORKS | TOTAL
| IX CERAMIC WORKS | TOTAL
| X PAINT WORKS | TOTAL
| XI ( ALABASTER ) WORKS | TOTAL
| XII ELECTRICAL INSTALLATION WORKS | TOTAL
| XIII WATER SUPPLY AND SEWERAGE | TOTAL
| XIV SANITARY DEVICES | TOTAL
| XV FERRY | TOTAL
| TOTAL | TOTAL